## Blad1
Lansen MIOTY protocol description
"name":"LAN-MIOTY-G2-LDS",
article:"LAN-920-0058",
Index | Name | Context | Val | Uplink | Interger | Numeric | Min | Max | Resolution | Calculations
[5 empty] | unsigned | Unit |  |  |  | Max Min calc | Needed values | Needed bits | Full bits
0 | current_leakage_val_port_1 | Current leakage AD-value on port 1 |  | 1 | 1 | AD | 0 | 1023 | 5 | 1024 | 204.8 | 7.6781 | 8
1 | current_leakage_val_port_2 | Current leakage AD-value on port 2 |  | 1 | 1 | AD | 0 | 1023 | 5 | 1024 | 204.8 | 7.6781 | 8
2 | leakage_alarm_trigg_value | Trigger alarm if AD-values goes below 700 |  | 1 | 1 | AD | 700 | 700 | 1 | 1 | 1 | 0 | 1
3 | leakage_alarm_reset_value | Resets alarm if AD-value goes above 800 |  | 1 | 1 | AD | 800 | 800 | 1 | 1 | 1 | 0 | 1
4 | leakage_detected_now_port_1 | High if leakage is detected on port 1 |  | 1 | 1 | %01 | [6 empty] | 1
5 | leakage_detected_now_port_2 | High if leakage is detected on port 2 |  | 1 | 1 | %01 | [6 empty] | 1
6 | leakage_detected_last_24h_port_1 | High if leakage detected last 24h on port1 |  | 1 | 1 | %01 | [6 empty] | 1
7 | leakage_detected_last_24h_port_2 | High if leakage detected last 24h on port2 |  | 1 | 1 | %01 | [6 empty] | 1
8 | days_since_last_leakage | Consider alarm from both channels |  | 1 | 1 | days | 0 | 8000 | 1 | 8001 | 8001 | 12.966 | 13
9 | duration_of_last_alarm_port_1 | Duration of last alarm on port 1 |  | 1 | 1 | minutes | 0 | 14400 | 1 | 14401 | 14401 | 13.8139 | 14
10 | duration_of_last_alarm_port_2 | Duration of last alarm on port 2 |  | 1 | 1 | minutes | 0 | 14400 | 1 | 14401 | 14401 | 13.8139 | 14
11 | op_years | Total run time of device |  | 1 | 1 | Y | 0 | 31 | 1 | 32 | 32 | 5 | 5
12 | run_time | Run time since power up |  | 1 | 1 | Y | 0 | 31 | 1 | 32 | 32 | 5 | 5
13 | battery_voltage | Current battery voltage |  | 1 | 1 | V | 1800 | 3300 | 100 | 1501 | 15.01 | 3.9079 | 4
14 | low_batt | Low battery detected |  | 1 | 1 | %01 | [6 empty] | 1
15 | device_active | Device not yet activated |  | 1 | 1 | %01 | [6 empty] | 1
16 | async_message | Message sent due to change in alarm condition |  | 1 | 1 | %01 | [6 empty] | 1
17 | unused |  |  | 1 | 1 | %01
80