## Blad1
Lansen MIOTY protocol description
"name":"LAN-MIOTY-G2-DC-NO",
article:"LAN-920-0066",
Index | Name | Content | Val | Uplink | Interger | Numeric | Min | Max | Resolution | Calculations
[5 empty] | unsigned | Unit |  |  |  | Max Min calc | Needed values | Needed bits | Full bits
0 | total_openings_port_0 | Number of openings of port 0 |  | 1 | 1 | %01 | 0 | 8191 | 1 | 8192 | 8192 | 13 | 13 | Ger 143 ändringar / dag
1 | total_openings_port_1 | Number of openings of port 1 |  | 1 | 1 | %01 | 0 | 8191 | 1 | 8192 | 8192 | 13 | 13
2 | currently_alarm_on_port_0 | There is currently an alarm on port 0 |  | 1 | 1 | %01 | [6 empty] | 1
3 | 5min_alarm_on_port_0 | An alarm occurred in the past 5 minutes on port 0 |  | 1 | 1 | %01 | [6 empty] | 1
4 | 10min_alarm_on_port_0 | An alarm occurred in the past 10 minutes on port 0 |  | 1 | 1 | %01 | [6 empty] | 1
5 | 1h_alarm_on_port_0 | An alarm occurred in the past 1 hours on port 0 |  | 1 | 1 | %01 | [6 empty] | 1
6 | 24h_alarm_on_port_0 | An alarm occurred in the past 24 hours on port 0 |  | 1 | 1 | %01 | [6 empty] | 1
7 | currently_alarm_on_port_1 | There is currently an alarm on port 1 |  | 1 | 1 | %01 | [6 empty] | 1
8 | 5min_alarm_on_port_1 | An alarm occurred in the past 5 minutes on port 1 |  | 1 | 1 | %01 | [6 empty] | 1
9 | 10min_alarm_on_port_1 | An alarm occurred in the past 10 minutes on port 1 |  | 1 | 1 | %01 | [6 empty] | 1
10 | 1h_alarm_on_port_1 | An alarm occurred in the past 1 hours on port 1 |  | 1 | 1 | %01 | [6 empty] | 1
11 | 24h_alarm_on_port_1 | An alarm occurred in the past 24 hours on port 1 |  | 1 | 1 | %01 | [6 empty] | 1
13 | minutes_since_last_alarm | Number of minutes since last alarm. NOTE: Consider alarm on both channels |  | 1 | 1 | minuter | 0 | 32767 | 1 | 32768 | 32768 | 15 | 15
14 | duration_last_alarm | Number of minutes in last alarm state. NOTE: Consider alarm on both channels NOTE: Counts up to 2880 minutes (two day) |  | 1 | 1 | minutes | 0 | 2880 | 1 | 2881 | 2881 | 11.4924 | 12
15 | last_alarm_input | 0 = port 0, 1 = port 1 |  | 1 | 1 | %01 | [6 empty] | 1
16 | op_years | Total run time of device. NOTE: Only parameter that does not reset if battery is removed and reinserted |  | 1 | 1 | Y | 0 | 31 | 1 | 32 | 32 | 5 | 5
17 | run_time | Run time since power up. |  | 1 | 1 | Y | 0 | 31 | 1 | 32 | 32 | 5 | 5
18 | battery_voltage | Current battery voltage |  | 1 | 1 | V | 1800 | 3300 | 100 | 1501 | 15.01 | 3.9079 | 4
19 | low_batt | Low battery detected |  | 1 | 1 | %01 | [6 empty] | 1
20 | async_message | Message sent due to change in alarm condition |  | 1 | 1 | %01 | [6 empty] | 1
80