## Blad1
Lansen MIOTY protocol description
"name":"LAN-MIOTY-M2",
article:"LAN-920-0056",
Index | Name | Context | Val | Uplink | Interger | Numeric | Min | Max | Resolution | Calculations
[5 empty] | unsigned | Unit |  |  |  | Max Min calc | Needed values | Needed bits | Full bits
0 | total_openings | Openings since startup |  | 1 | 1 | %01 | 0 | 1048575 | 1 | 1048576 | 1048576 | 20 | 20
1 | internal_magnet_alarm | Currently alarm on internal magnet |  | 1 | 1 | %01 | [6 empty] | 1
2 | external_alarm | Currently alarm on external accessory |  | 1 | 1 | %01 | [6 empty] | 1
3 | internal_magnet_alarm_last_5min | Opening occured during past 5 minutes |  | 1 | 1 | %01 | [6 empty] | 1
4 | internal_magnet_alarm_last_10min | Opening occured during past 10 minutes |  | 1 | 1 | %01 | [6 empty] | 1
5 | internal_magnet_alarm_last_1h | Opening occured during past 24h |  | 1 | 1 | %01 | [6 empty] | 1
6 | internal_magnet_alarm_last_24h | Opening occured during past 24h |  | 1 | 1 | %01 | [6 empty] | 1
7 | external_alarm_last_5min | Opening occured during past 5 minutes |  | 1 | 1 | %01 | [6 empty] | 1
8 | external_alarm_last_10min | Opening occured during past 10 minutes |  | 1 | 1 | %01 | [6 empty] | 1
9 | external_alarm_last_1h | Opening occured during past 1h |  | 1 | 1 | %01 | [6 empty] | 1
10 | external_alarm_last_24h | Opening occured during past 24h |  | 1 | 1 | %01 | [6 empty] | 1
11 | minutes_since_last_alarm | Consider alarm from both channels |  | 1 | 1 | minuter | 0 | 262143 | 1 | 262144 | 262144 | 18 | 18
13 | duration_last_alarm | Duration of last alarm |  | 1 | 1 | minutes | 0 | 8000 | 1 | 8001 | 8001 | 12.966 | 13
14 | last_alarm_input | 0 = internal, 1 = external |  | 1 | 1 | %01 | [6 empty] | 1
15 | op_years | Total run time of device |  | 1 | 1 | Y | 0 | 31 | 1 | 32 | 32 | 5 | 5
16 | run_time | Run time since power up |  | 1 | 1 | Y | 0 | 31 | 1 | 32 | 32 | 5 | 5
17 | battery_voltage | Current battery voltage |  | 1 | 1 | V | 1800 | 3300 | 100 | 1501 | 15.01 | 3.9079 | 4
18 | low_batt | Low battery detected |  | 1 | 1 | %01 | [6 empty] | 1
19 | sab_detected_internal | Sabotage detected (internal) |  | 1 | 1 | %01 | [6 empty] | 1
20 | sab_detected_external | Sabotage detected (external) |  | 1 | 1 | %01 | [6 empty] | 1
21 | async_message | Message sent due to change in alarm condition |  | 1 | 1 | %01 | [6 empty] | 1
22 | unused |  |  | 1 | 1 | %01 | [6 empty] | 0
80